ELECTRICAL INSTALLATION                                                                                                                        ENG/OS/EI/CR/02/3/MA

Install Trunking System
July/August 2025

TVET CURRICULUM DEVELOPMENT, ASSESSMENT AND CERTIFICATION COUNCIL (TVET CDACC)

PRACTICAL ASSESSMENT

INSTRUCTIONS TO THE CANDIDATE:

- This unit of competence shall be assessed in three phases.

- Each assessment session has the duration included in brackets

- The third phase of the assessment shall include a practical session and an oral assessment session.

- The assessor will take photos and videos as you perform the tasks at critical points during the assessment.

- Ensure all required resources for the assessment have been provided before beginning the

- assessment.

- All measurements are in millimeters (mm)

      - PRACTICAL ASSESSMENT 1 (4 HOURS)

Element covered

Identify trunking Accessories

TASKS

- Identify trunk types and sizes from a variety provided by the assessor

- Identify various conduit accessories from a variety provided by the assessor

      - PRACTICAL ASSESSMENT 2 (4 HOURS)

Elements covered

- Prepare Trunking work pieces

- Mount Prepare Trunking work pieces

TASK

- Prepare both metallic trunking work pieces for the installation of Figure 1

- Mount metallic trunking work pieces for the installation of Figure 1

- Figure 1 shows an electrical layout diagram of a final sub-circuit.

- Draw the wiring diagram

- Install the circuit such that lamp L1 is controlled by switch S1

Figure 1

      - PRACTICAL ASSESSMENT 3 (4 HOURS)

Element covered

- Mount Trunking work pieces

- Install of electrical cables and accessories

- Perform Tests and Inspection                                                                                                                            
TASK

- Figure 2 shows a layout diagram of final sub-circuits. Draw a wiring diagram such that:

- Lamp L1 and L2 are controlled from two different points

- socket outlets are connected in radial

- Using PVC trunking system, install the circuit in Figure 2

- Perform the following tests

- Continuity

- Polarity

Figure 2